{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Závislost na vzdálenosti"],"not_rendered":{"charts":4,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Závislost na vzdálenosti","index":0,"n_rows":201,"n_cols":18,"rows_kept":201,"cut":false,"hidden":false,"merged":[[194,16,194,17],[195,16,195,17],[196,16,196,17],[194,12,194,13],[195,12,195,13],[196,12,196,13],[194,14,194,15],[195,14,195,15],[196,14,196,15],[194,8,194,9],[195,8,195,9],[196,8,196,9],[194,10,194,11],[195,10,195,11],[196,10,196,11],[0,1,0,17],[194,2,194,3],[195,2,195,3],[196,2,196,3],[194,4,194,5],[196,4,196,5],[194,6,194,7],[195,6,195,7],[195,4,195,5],[196,6,196,7],[1,10,1,11],[1,12,1,13],[1,14,1,15],[1,16,1,17],[1,2,1,3],[1,4,1,5],[1,6,1,7],[1,8,1,9]],"flags":["formulas_cached_only"]}
[null,"Měření sady 7 článků velikosti cca 50x23mm zapojených v sérii při teplotě cca 23DEGC"]
[null,"H[cm]",100,null,90,null,80,null,70,null,60,null,50,null,40,null,30]
[null,"I[mA]","U[V]","P[mW]","U[V]","P[mW]","U[V]","P[mW]","U[V]","P[mW]","U[V]","P[mW]","U[V]","P[mW]","U[V]","P[mW]","U[V]","P[mW]"]
[null,0,3.36,0,3.44,0,3.51,0,3.6,0,3.66,0,3.73,0,3.74,0,3.75,0]
[null,1,3.35,3.3,3.42,3.4,3.51,3.5,3.59,3.5,3.66,3.6,3.73,3.7,3.74,3.7,3.75,3.7]
[null,2,3.33,6.6,3.41,6.8,3.49,6.9,3.59,7.1,3.66,7.3,3.73,7.4,3.74,7.4,3.75,7.5]
[null,3,3.32,9.9,3.4,10.2,3.48,10.4,3.58,10.7,3.65,10.9,3.72,11.1,3.73,11.2,3.75,11.2]
[null,4,3.29,13.1,3.38,13.5,3.47,13.9,3.57,14.3,3.64,14.5,3.72,14.8,3.73,14.9,3.75,15]
[null,5,3.26,16.3,3.36,16.8,3.46,17.3,3.56,17.8,3.64,18.2,3.71,18.5,3.73,18.6,3.74,18.7]
[null,6,3.24,19.4,3.34,20,3.45,20.7,3.55,21.3,3.63,21.8,3.71,22.2,3.73,22.3,3.74,22.4]
[null,7,3.21,22.5,3.32,23.2,3.44,24,3.55,24.8,3.63,25.4,3.7,25.9,3.72,26,3.74,26.2]
[null,8,3.18,25.4,3.3,26.4,3.42,27.3,3.53,28.2,3.62,29,3.7,29.6,3.72,29.7,3.73,29.9]
[null,9,3.16,28.4,3.28,29.5,3.4,30.6,3.52,31.7,3.61,32.5,3.7,33.3,3.72,33.4,3.73,33.6]
[null,10,3.12,31.2,3.25,32.5,3.39,33.9,3.52,35.2,3.6,36,3.69,36.9,3.71,37.1,3.73,37.3]
[null,11,3.08,33.9,3.23,35.5,3.37,37.1,3.5,38.5,3.6,39.6,3.69,40.6,3.71,40.8,3.73,41]
[null,12,3.05,36.6,3.2,38.5,3.35,40.3,3.49,41.9,3.59,43.1,3.68,44.1,3.71,44.5,3.72,44.7]
[null,13,3.01,39.2,3.18,41.3,3.33,43.4,3.48,45.2,3.59,46.6,3.67,47.8,3.7,48.1,3.72,48.4]
[null,14,2.97,41.6,3.15,44.1,3.31,46.4,3.46,48.5,3.58,50.1,3.67,51.4,3.7,51.8,3.72,52]
[null,15,2.93,44,3.12,46.8,3.3,49.5,3.46,51.9,3.57,53.6,3.66,55,3.7,55.5,3.72,55.8]
[null,16,2.88,46.1,3.08,49.3,3.27,52.4,3.45,55.2,3.56,57,3.66,58.6,3.69,59.1,3.71,59.4]
[null,17,2.82,48,3.05,51.9,3.25,55.2,3.43,58.4,3.56,60.5,3.65,62.1,3.69,62.7,3.71,63.1]
[null,18,2.77,49.9,3.01,54.3,3.23,58.2,3.42,61.5,3.55,63.9,3.65,65.7,3.68,66.3,3.71,66.8]
[null,19,2.7,51.4,2.97,56.4,3.2,60.8,3.4,64.7,3.54,67.2,3.64,69.3,3.68,69.9,3.71,70.5]
[null,20,2.64,52.9,2.93,58.6,3.17,63.5,3.39,67.8,3.53,70.6,3.64,72.8,3.68,73.6,3.7,74.1]
[null,21,2.56,53.9,2.88,60.6,3.15,66.1,3.37,70.9,3.52,73.9,3.63,76.3,3.67,77.2,3.7,77.8]
[null,22,2.48,54.6,2.83,62.3,3.11,68.5,3.35,73.8,3.51,77.3,3.63,79.9,3.67,80.7,3.7,81.4]
[null,23,2.39,54.9,2.78,64,3.08,71,3.34,76.9,3.5,80.5,3.62,83.3,3.67,84.4,3.69,85]
[null,24,2.26,54.4,2.72,65.3,3.06,73.4,3.32,79.8,3.49,83.8,3.61,86.8,3.66,88,3.69,88.7]
[null,25,2.11,52.8,2.65,66.3,3.01,75.4,3.3,82.6,3.48,87.2,3.61,90.3,3.66,91.5,3.69,92.2]
[null,26,1.87,48.7,2.58,67.2,2.98,77.5,3.29,85.5,3.47,90.3,3.6,93.8,3.65,95.1,3.69,95.9]
[null,27,1.17,31.6,2.49,67.4,2.94,79.5,3.26,88.2,3.46,93.5,3.6,97.3,3.65,98.6,3.68,99.5]
[null,28,0.44,12.4,2.4,67.3,2.89,81,3.24,90.8,3.45,96.7,3.59,100.7,3.64,102.1,3.68,103]
[null,29,null,null,2.29,66.5,2.85,82.8,3.22,93.6,3.44,99.7,3.59,104.1,3.64,105.6,3.68,106.7]
[null,30,null,null,2.12,63.7,2.79,83.9,3.19,95.9,3.43,102.9,3.58,107.5,3.64,109.2,3.67,110.3]
[null,31,null,null,1.79,55.7,2.74,85,3.17,98.4,3.41,105.9,3.58,110.9,3.63,112.7,3.67,113.8]
[null,32,null,null,1.04,33.4,2.68,86,3.15,101,3.4,109,3.57,114.4,3.63,116.2,3.67,117.5]
[null,33,null,null,0.41,13.6,2.61,86.1,3.11,102.8,3.39,111.9,3.56,117.6,3.62,119.7,3.66,121]
[null,34,{"$nulls":4},2.53,86.3,3.09,105.3,3.38,115,3.56,121,3.62,123.3,3.66,124.6]
[null,35,{"$nulls":4},2.45,86,3.05,106.9,3.36,117.7,3.55,124.3,3.61,126.6,3.66,128.1]
[null,36,{"$nulls":4},2.33,84.1,3.03,109.1,3.35,120.7,3.54,127.6,3.61,130.2,3.65,131.6]
[null,37,{"$nulls":4},2.19,81.1,2.98,110.5,3.33,123.3,3.53,130.8,3.6,133.5,3.65,135.1]
[null,38,{"$nulls":4},1.88,71.6,2.95,112.4,3.32,126.1,3.53,134.2,3.6,137.1,3.65,138.8]
[null,39,{"$nulls":4},1.13,44.3,2.91,113.5,3.29,128.5,3.52,137.5,3.6,140.5,3.64,142.2]
[null,40,{"$nulls":4},0.56,22.5,2.87,114.8,3.28,131.2,3.51,140.7,3.59,143.9,3.64,145.9]
[null,41,{"$nulls":4},0.12,4.9,2.81,115.3,3.25,133.5,3.5,143.8,3.59,147.3,3.64,149.3]
[null,42,{"$nulls":6},2.77,116.5,3.24,136.2,3.49,146.9,3.59,150.9,3.63,152.8]
[null,43,{"$nulls":6},2.7,116.2,3.21,138.4,3.49,150.2,3.58,154.1,3.63,156.4]
[null,44,{"$nulls":6},2.65,116.6,3.2,141,3.48,153.3,3.58,157.7,3.63,160]
[null,45,{"$nulls":6},2.55,115.1,3.17,142.6,3.47,156.3,3.57,160.9,3.63,163.5]
[null,46,{"$nulls":6},2.49,114.6,3.15,144.9,3.46,159.3,3.58,164.7,3.62,166.9]
[null,47,{"$nulls":6},2.36,110.9,3.12,146.7,3.46,162.6,3.56,167.6,3.63,170.7]
[null,48,{"$nulls":6},2.17,104.3,3.1,149.2,3.44,165.3,3.56,171.1,3.62,173.9]
[null,49,{"$nulls":6},1.5,73.9,3.06,150.4,3.44,168.6,3.56,174.5,3.62,177.5]
[null,50,{"$nulls":6},0.89,44.5,3.04,152.2,3.43,171.5,3.56,178,3.61,180.9]
[null,51,{"$nulls":6},0.46,23.5,2.99,152.8,3.42,174.7,3.55,181.3,3.61,184.5]
[null,52,{"$nulls":6},0.08,4.5,2.96,154.3,3.41,177.4,3.55,184.6,3.61,187.9]
[null,53,{"$nulls":8},2.91,154.5,3.4,180.3,3.54,187.7,3.61,191.5]
[null,54,{"$nulls":8},2.88,155.6,3.38,182.9,3.54,191.2,3.61,195.1]
[null,55,{"$nulls":8},2.81,155,3.38,186,3.53,194.2,3.6,198.5]
[null,56,{"$nulls":8},2.77,155.4,3.36,188.3,3.52,197.5,3.6,201.8]
[null,57,{"$nulls":8},2.68,153,3.35,191.1,3.52,200.7,3.6,205.4]
[null,58,{"$nulls":8},2.58,150,3.33,193.7,3.51,204,3.59,208.7]
[null,59,{"$nulls":8},2.32,137.3,3.33,196.4,3.51,207.2,3.59,212.1]
[null,60,{"$nulls":8},1.7,102,3.31,198.6,3.5,210.5,3.59,215.4]
[null,61,{"$nulls":8},1.17,71.7,3.3,201.3,3.49,213.4,3.59,219]
[null,62,{"$nulls":8},0.85,53.1,3.27,203.1,3.49,216.9,3.58,222.2]
[null,63,{"$nulls":8},0.58,37,3.27,206.1,3.48,219.8,3.58,225.5]
[null,64,{"$nulls":8},0.3,19.4,3.24,207.8,3.48,222.9,3.57,228.8]
[null,65,{"$nulls":8},0.06,4,3.23,210.5,3.47,226.1,3.57,232.4]
[null,66,{"$nulls":10},3.2,211.8,3.47,229.3,3.57,235.6]
[null,67,{"$nulls":10},3.19,214,3.46,232.1,3.57,239.2]
[null,68,{"$nulls":10},3.16,215.3,3.46,235.2,3.56,242.5]
[null,69,{"$nulls":10},3.15,217.4,3.45,238,3.56,245.7]
[null,70,{"$nulls":10},3.11,218.2,3.45,241.5,3.55,248.9]
[null,71,{"$nulls":10},3.1,220.3,3.44,244.3,3.55,252.5]
[null,72,{"$nulls":10},3.06,220.3,3.43,247.3,3.55,255.7]
[null,73,{"$nulls":10},3.04,221.9,3.42,250.1,3.54,258.9]
[null,74,{"$nulls":10},2.98,221.1,3.42,253.1,3.54,262.1]
[null,75,{"$nulls":10},2.95,221.9,3.41,255.8,3.54,265.6]
[null,76,{"$nulls":10},2.89,220.1,3.4,258.9,3.53,268.8]
[null,77,{"$nulls":10},2.84,219.3,3.39,261.6,3.53,271.9]
[null,78,{"$nulls":10},2.72,212.3,3.39,264.6,3.52,275.1]
[null,79,{"$nulls":10},2.35,185.7,3.37,266.8,3.52,278.6]
[null,80,{"$nulls":10},1.69,135.7,3.37,269.8,3.52,281.8]
[null,81,{"$nulls":10},1.27,103.4,3.35,272,3.51,284.9]
[null,82,{"$nulls":10},0.97,80.2,3.35,275,3.51,288]
[null,83,{"$nulls":10},0.72,59.9,3.34,277.5,3.51,291.5]
[null,84,{"$nulls":10},0.51,43.3,3.33,280.1,3.5,294.7]
[null,85,{"$nulls":10},0.26,22.1,3.32,282.6,3.5,298.2]
[null,86,{"$nulls":10},0.07,6.2,3.31,285.1,3.5,301.3]
[null,87,{"$nulls":12},3.3,287.1,3.49,304.3]
[null,88,{"$nulls":12},3.29,290,3.49,307.4]
[null,89,{"$nulls":12},3.28,292,3.49,310.9]
[null,90,{"$nulls":12},3.27,294.4,3.48,313.5]
[null,91,{"$nulls":12},3.25,296,3.48,317]
[null,92,{"$nulls":12},3.24,298.8,3.47,320.1]
[null,93,{"$nulls":12},3.23,300.7,3.47,323.5]
[null,94,{"$nulls":12},3.22,303,3.46,326.1]
[null,95,{"$nulls":12},3.2,304.4,3.46,329.6]
[null,96,{"$nulls":12},3.19,306.2,3.46,332.6]
[null,97,{"$nulls":12},3.16,307.1,3.46,336.5]
[null,98,{"$nulls":12},3.15,309.3,3.46,339]
[null,99,{"$nulls":12},3.13,310.1,3.46,342.5]
[null,100,{"$nulls":12},3.11,311.3,3.45,345]
[null,101,{"$nulls":12},3.07,310.5,3.45,348.5]
[null,102,{"$nulls":12},3.05,311.1,3.44,351.4]
[null,103,{"$nulls":12},3,309.2,3.44,354.9]
[null,104,{"$nulls":12},2.96,308.2,3.44,357.8]
[null,105,{"$nulls":12},2.84,298.5,3.44,361.2]
[null,106,{"$nulls":12},2.71,288.1,3.43,363.7]
[null,107,{"$nulls":12},2.32,249,3.43,367.1]
[null,108,{"$nulls":12},1.95,211.3,3.42,369.5]
[null,109,{"$nulls":12},1.57,171.2,3.42,372.9]
[null,110,{"$nulls":12},1.3,143.1,3.41,375.3]
[null,111,{"$nulls":12},0.98,109.6,3.41,378.7]
[null,112,{"$nulls":12},0.76,85.2,3.4,381.6]
[null,113,{"$nulls":12},0.49,56,3.4,385]
[null,114,{"$nulls":12},0.33,37.9,3.39,387.3]
[null,115,{"$nulls":12},0.18,21.6,3.39,390.7]
[null,116,{"$nulls":14},3.39,393.5]
[null,117,{"$nulls":14},3.38,396.3]
[null,118,{"$nulls":14},3.37,398.6]
[null,119,{"$nulls":14},3.37,402]
[null,120,{"$nulls":14},3.37,404.8]
[null,121,{"$nulls":14},3.36,407.5]
[null,122,{"$nulls":14},3.36,410.3]
[null,123,{"$nulls":14},3.35,413.1]
[null,124,{"$nulls":14},3.34,415.3]
[null,125,{"$nulls":14},3.34,418.6]
[null,126,{"$nulls":14},3.33,420.7]
[null,127,{"$nulls":14},3.33,424.1]
[null,128,{"$nulls":14},3.33,426.8]
[null,129,{"$nulls":14},3.33,430.1]
[null,130,{"$nulls":14},3.32,432.2]
[null,131,{"$nulls":14},3.32,434.9]
[null,132,{"$nulls":14},3.31,437]
[null,133,{"$nulls":14},3.3,439.6]
[null,134,{"$nulls":14},3.3,442.3]
[null,135,{"$nulls":14},3.3,445.6]
[null,136,{"$nulls":14},3.29,447.6]
[null,137,{"$nulls":14},3.28,450.2]
[null,138,{"$nulls":14},3.27,452.2]
[null,139,{"$nulls":14},3.27,455.5]
[null,140,{"$nulls":14},3.26,457.4]
[null,141,{"$nulls":14},3.26,460]
[null,142,{"$nulls":14},3.25,461.9]
[null,143,{"$nulls":14},3.25,465.1]
[null,144,{"$nulls":14},3.23,466.3]
[null,145,{"$nulls":14},3.23,469.5]
[null,146,{"$nulls":14},3.22,471.4]
[null,147,{"$nulls":14},3.22,474.6]
[null,148,{"$nulls":14},3.21,476.4]
[null,149,{"$nulls":14},3.21,478.9]
[null,150,{"$nulls":14},3.19,479.9]
[null,151,{"$nulls":14},3.19,481.7]
[null,152,{"$nulls":14},3.17,482.7]
[null,153,{"$nulls":14},3.17,485.1]
[null,154,{"$nulls":14},3.15,486.1]
[null,155,{"$nulls":14},3.15,489.2]
[null,156,{"$nulls":14},3.14,490.1]
[null,157,{"$nulls":14},3.14,494]
[null,158,{"$nulls":14},3.13,494.9]
[null,159,{"$nulls":14},3.13,498]
[null,160,{"$nulls":14},3.11,498.8]
[null,161,{"$nulls":14},3.11,501.9]
[null,162,{"$nulls":14},3.1,502.7]
[null,163,{"$nulls":14},3.1,505.8]
[null,164,{"$nulls":14},3.08,505.8]
[null,165,{"$nulls":14},3.08,508.9]
[null,166,{"$nulls":14},3.07,510.3]
[null,167,{"$nulls":14},3.07,513.4]
[null,168,{"$nulls":14},3.05,512.4]
[null,169,{"$nulls":14},3.04,513.9]
[null,170,{"$nulls":14},3,510.3]
[null,171,{"$nulls":14},3,513.3]
[null,172,{"$nulls":14},2.96,510.5]
[null,173,{"$nulls":14},2.96,513.5]
[null,174,{"$nulls":14},2.93,510.6]
[null,175,{"$nulls":14},2.92,511]
[null,176,{"$nulls":14},2.83,499.5]
[null,177,{"$nulls":14},2.79,493.8]
[null,178,{"$nulls":14},2.63,468.3]
[null,179,{"$nulls":14},2.56,458.9]
[null,180,{"$nulls":14},2.4,433.7]
[null,181,{"$nulls":14},2.29,415.1]
[null,182,{"$nulls":14},1.81,329.7]
[null,183,{"$nulls":14},1.43,262.8]
[null,184,{"$nulls":14},1.07,198.6]
[null,185,{"$nulls":14},0.86,160.4]
[null,186,{"$nulls":14},0.58,108.4]
[null,187,{"$nulls":14},0.43,82]
[null,188,{"$nulls":14},0.19,36.2]
[null,189,{"$nulls":14},0.08,16.3]
[null,190,{"$nulls":14},0.05,10]
[null,"Im[mA]",23,null,27,null,34,null,42,null,54,null,74,null,100,null,173]
[null,"Um[V]",2.39,null,2.49,null,2.53,null,2.77,null,2.88,null,2.98,null,3.11,null,2.96]
[null,"Pm[mW]",54.9,null,67.4,null,86.3,null,116.5,null,155.6,null,221.1,null,311.3,null,513.5]
[]
[null,"Im[mA]",23,27,34,42,54,74,100,173,null,"Toto je stejná tabulka pro úspěšné vytvoření grafu."]
[null,"Um[V]",2.39,2.49,2.53,2.77,2.88,2.98,3.11,2.96,null,"EXCEL je pitomý a neumí spojit body jejichž data pocházejí ze spojených buněk"]
[null,"Pm[mW]",54.9,67.4,86.3,116.5,155.6,221.1,311.3,513.5]